- APPENDIX AA
ADOPTION PROPOSAL FORM

CPR183/F12

KENYA BUREAU OF STANDARDS

| Document Type: | Adoption proposal |  |
| --- | --- | --- |
| Dates: | Circulation date | Closing date |
|  | 2024-07-09 | 2024-08-09 |
| TC Secretary | This form shall be filled, signed and returned to Kenya Bureau of Standards for the attention of Florence Chelanga Kitum(kitumf@kebs.org) |  |

The Kenya Bureau of Standards intends to adopt the International Standards as detailed here below

1. ISO 4722-1:2023

Title:

Water quality — Thorium 232 — Part 1: Test method using alpha spectrometry

Scope:

This document specifies the method and the conditions for the determination of 232Th activity concentration in samples of environmental water (including sea waters) and waste waters before release to the environment using alpha spectrometry and 229Th as a recovery tracer. A chemical separation allows to separate and purify thorium from a test portion of the sample. The general principles outlined in this document can be applied for the analysis of other alpha-emitting thorium isotopes such as 228Th and 230Th in aqueous samples.

2.  ISO 6107:2021

Title:

Water quality — Vocabulary

Scope:

This document defines terms used in certain fields of water quality characterization.

3.  ISO 11733:2004

Tittle:

Water quality — Determination of the elimination and biodegradability of organic compounds in an aqueous medium — Activated sludge simulation test.

Scope:

This International Standard specifies a method for the determination of the elimination and the biodegradability of organic compounds by aerobic micro-organisms. The conditions described simulate a waste-water treatment plant. Two test systems can be used: activated sludge plants or porous pots. The tests can optionally be performed under conditions of nitrification and denitrification (Annex A) and coupling of the units (Annex B).

4.  ISO 13164-2:2013

Tittle:

Water quality — Radon-222 — Part 2: Test method using gamma-ray spectrometry.

Scope:

This part of ISO 13164 specifies a test method for the determination of radon-222 activity concentration in a sample of water following the measurement of its short-lived decay products by direct gammaspectrometry of the water sample (see Annex A). The radon-222 activity concentrations, which can be measured by this test method utilizing currently available gamma-ray instruments, range from a few becquerels per litre to several hundred thousand becquerels per litre for a 1 l test sample. This test method can be used successfully with drinking water samples. The laboratory is responsible for ensuring the validity of this test method for water samples of untested matrices. Annex B gives indication on the necessary counting conditions to meet the required sensitivity for drinking water monitoring.

5. ISO 13169:2018

Tittle:

Water quality — Uranium — Test method using alpha liquid scintillation counting

Scope:

This document specifies the measurement method for the determination of total activity concentration of uranium isotopes in non-saline waters by extraction and liquid scintillation counting. This method covers the measurement of soluble uranium isotopes in water in activity concentrations between approximately 2·10−3 Bq/kg and 10 Bq/kg when analysing a 1 l test sample volume with a 60 000 s counting time with a typical alpha LSC instrument. The ratio 234U/238U can also be determined. This method has not been tested for the measurement of other uranium isotopes.

6.  ISO 13914:2023

Title:

Soil treated biowaste and sludge — Determination of dioxins and furans and dioxin-like polychlorinated biphenyls by gas chromatography with high resolution mass selective detection (HR GC-MS).

Scope:

This document specifies a method for quantitative determination of 17 2,3,7,8-chlorine substituted dibenzo-p-dioxins and dibenzofurans and dioxin-like polychlorinated biphenyls in sludge, treated biowaste and soil using liquid column chromatographic clean-up methods and GC/HRMS.

7.  ISO 15586:2003

Title:

Water quality — Determination of trace elements using atomic absorption spectrometry with graphite furnace

Scope:

This International Standard includes principles and procedures for the determination of trace levels of: Ag, Al, As, Cd, Co, Cr, Cu, Fe, Mn, Mo, Ni, Pb, Sb, Se, Tl, V, and Zn in surface water, ground water, drinking water, wastewater and sediments, using atomic absorption spectrometry with electrothermal atomization in a graphite furnace. The method is applicable to the determination of low concentrations of elements. The detection limit of the method for each element depends on the sample matrix as well as of the instrument, the type of atomizer and the use of chemical modifiers. For water samples with a simple matrix (i.e. low concentration of dissolved solids and particles), the method detection limits will be close to instrument detection limits. The minimum acceptable detection limit values for a 20-µl sample volume are given in Table 1.

8.  ISO 15705:2002

Title:

Water quality — Determination of the chemical oxygen demand index (ST-COD) — Small- scale sealed- tube method.

Scope:

This International Standard specifies a method for the determination of the chemical oxygen demand (ST-COD) using the sealed tube method. The test is empirical and is applicable to any aqueous sample, which includes all sewage and waste waters.

The method is applicable to undiluted samples having ST-COD values up to 1 000 mg/l and a chloride concentration not exceeding 1 000 mg/l. Samples with higher ST-COD values require predilution. For samples with a low COD, the precision of the measurement will be reduced and the detection limit will be poorer.

Samples with a high chloride concentration will need to be prediluted to give a chloride concentration of approximately 1 000 mg/l or less before analysis.

The method oxidizes almost all types of organic compounds and most inorganic reducing agents. It has a detection limit (4,65 times the within-batch standard deviation of a blank or very low standard) of 6 mg/l for photometric detection at 600 nm, and 15 mg/l for titrimetric detection as reported by one laboratory comparing the photometric and titrimetric techniques using a commercial test kit with a range up to 1 000 mg/l.

9. ISO 15923-1:2013

Title:

Water quality — Determination of selected parameters by discrete analysis systems — Part 1: Ammonium, nitrate, nitrite, chloride, orthophosphate, sulfate and silicate with photometric detection.

Scope:

This part of ISO 15923 specifies methods for the automatic performance of spectrophotometric and turbidimetric analyses with a discrete analysis system for determining ammonium, nitrate, nitrite, chloride, orthophosphate, sulfate, and silicate. The field of application is ground, potable, surface, waste, eluates, and boiler water.

10.  ISO/TC 15923-2:2017

Title:

Water quality — Determination of selected parameters by discrete analysis systems — Part 2: Chromium (VI), fluoride, total alkalinity, total hardness, calcium, magnesium, iron, iron (II), manganese and aluminium with photometric detection.

Scope:

This document specifies methods for the automatic determination of chromium (VI), fluoride, total alkalinity, total hardness, calcium, magnesium, iron, iron(II), manganese and aluminium with photometric determination using a discrete analysis system. The field of application is water (ground, potable, surface, waste, eluates and boiler water). The method can also be applied to marine waters with matrix matching of standard and control solutions. Note that some parameters, notably iron, manganese and aluminium and possibly chromium (VI), calcium and magnesium may not be completely quantified if the sample contains particulates. Samples can be digested in acid, as long as the buffering capacity of the reaction mixture is not exceeded. Such procedures are beyond the scope of this document, which is best suited to the determination of dissolved metals following on-site filtration.

11.  ISO 17289:2014

Title:

Water quality — Determination of dissolved oxygen — Optical sensor method.

Scope:

This International Standard specifies an optical method for the determination of dissolved oxygen in water using a sensor working on the basis of fluorescence quenching. Measurement can be made either as a concentration of oxygen in milligrams per liter, percentage saturation (% dissolved oxygen), or both. Depending on the instrument used, detection limits of 0,1 mg/l or 0,2 mg/l can be reached according to the manufacturer’s manual. Most instruments permit measurement of values higher than 100 %, i.e. supersaturation. NOTE Supersaturation is possible when the partial pressure of oxygen is higher than in air. Especially in case of strong algae growth, supersaturation up to 200 % and more is possible. If waters with a saturation higher than 100 % are measured, it is essential to make arrangements to prevent the outgassing of oxygen during the handling and measurement of the sample. Similarly, it is important that the transport of oxygen into the sample is prevented if the saturation is below 100 %.

12. ISO 17943:2016

Title:

Water quality — Determination of volatile organic compounds in water — Method using headspace solidphase micro-extraction (HS-SPME) followed by gas chromatography-mass spectrometry (GC-MS).

Scope:

This International Standard specifies a method for the determination of volatile organic compounds (see Table 1). This comprises, for example, halogenated hydrocarbons, trihalogenated methanes, gasoline components (such as BTEX, MTBE, and ETBE), naphthalene, 2-ethyl-4-methyl-1,3-dioxolane, and highly odorous substances like geosmin and 2-methylisoborneol in drinking water, ground water, surface water, and treated waste water, by means of headspace solid-phase micro-extraction (HS-SPME) followed by gas chromatography-mass spectrometry (GC-MS). The limit of determination depends on the matrix, on the specific compound to be analysed, and on the sensitivity of the mass spectrometer. For most compounds to which this International Standard applies, it is at least 0,01 µg/l. Validation data related to a concentration range between 0,02 µg/l and 2,6 µg/l have been demonstrated in an interlaboratory trial. Additional validation data derived from standardization work show applicability of the method within a concentration range from 0,01 µg/l to 100 µg/l of individual substances. All determinations are performed on small sample amounts (e.g. sample volumes of 10 ml).

13.  ISO18857-2:2009

Title:

Water quality — Determination of selected alkylphenols — Part 2: Gas chromatographic-mass spectrometric determination of alkylphenols, their ethoxylates and bisphenol A in non-filtered samples following solid-phase extraction and derivatization.

Scope:

This part of ISO 18857 specifies a gas chromatographic-mass spectrometric (GC-MS) determination of selected alkylphenols, their ethoxylates and bisphenol A in non-filtered samples of drinking, ground, surface, and waste waters following solid-phase extraction and derivatisation. The lower limit of the working range depends on the matrix, on the specific compound to be analysed and on the sensitivity of the mass spectrometric detection unit. The method is applicable in a working range from 0,005 µg/l to 0,2 µg/l for 4-(1,1,3,3-tetramethylbutyl)phenol (OP), and its mono- (OP1EO) and diethoxylate (OP2EO), from 0,03 µg/l to 0,2 µg/l for 4-nonylphenol (mixture of isomers) (NP), and its mono- (NP1EO) and diethoxylate (NP2EO), and from 0,05 µg/l to 0,2 µg/l for bisphenol A (BPA). Depending on the matrix, the method is also applicable to wastewater in a working range from 0,1 µg/l to 50 µg/l for OP, OP1EO, OP2EO and BPA, and from 0,5 µg/l to 50 µg/l for NP, NP1EO and NP2EO. The working ranges are based on experimental work carried out in ruggedness testing. Water samples containing suspended matter at concentrations of more than 500 mg/l and wastewater samples are extracted by passing a 100 ml sample through the cartridge.

14.  ISO 22908:2020

Title:

Water quality — Radium 226 and Radium 228 — Test method using liquid scintillation counting

Scope:

This document specifies the determination of radium-226 (226Ra) and radium-228 (228Ra) activity concentrations in drinking water samples by chemical separation of radium and its measurement using liquid scintillation counting.

Massic activity concentrations of 226Ra and 228Ra which can be measured by this test method utilizing currently available liquid scintillation counters go down to 0,01 Bq/kg for 226Ra and 0,06 Bq/kg for 228Ra for a 0,5 kg sample mass and a 1 h counting time in a low background liquid scintillation counter[8].

The test method can be used for the fast detection of contamination of drinking water by radium in emergency situations.

We are therefore seeking views from potential users in respect of the same.  The Standard is available at the Kenya Bureau of Standards Information Centre.  Please tick and fill your preference of the listed option.  (If the spaces provided are not enough, please attach a separate sheet of paper).

Adoption acceptable as presented

...............................................................................................................................

...............................................................................................................................

Adoption proposal not acceptable because of the reason(s) below

...............................................................................................................................

...............................................................................................................................

Our Recommendations are as follows

...............................................................................................................................

...............................................................................................................................

Name and Signature (of respondent): ................................................

Position (of respondent): .....................................

On behalf of ......................................................................................... (Name of organization)

Date .........................................................................

NOTE: Absence of any reply or comments shall be deemed to be an acceptance of the proposal for adoption and shall constitute an approval vote.

ADOPTION PROPOSAL

| S/No. | Standard Number | Adoption acceptable as presented | Adoption proposal not acceptable | Reason why adoption proposal not acceptable | Proposed Change/recommendation(s) |
| --- | --- | --- | --- | --- | --- |
|  | ISO 4722-1:2023 |  |  |  |  |
|  | ISO 6107:2021 |  |  |  |  |
|  | ISO 11733:2004 |  |  |  |  |
|  | ISO 13164-2:2013 |  |  |  |  |
|  | ISO 13169:2018 |  |  |  |  |
|  | ISO 13914:2023 |  |  |  |  |
|  | ISO 15586:2003 |  |  |  |  |
|  | ISO 15705:2002 |  |  |  |  |
|  | ISO 15923-1:2013 |  |  |  |  |
|  | ISO/TC 15923-2:2017 |  |  |  |  |
|  | ISO 17289:2014 |  |  |  |  |
|  | ISO 17943:2016 |  |  |  |  |
|  | ISO18857-2:2009 |  |  |  |  |
|  | ISO 22908:2020 |  |  |  |  |